## WREB
| C.S.P. T. C. L PERFORMANCE REPORT FOR THE DATE | [5 empty] | 2018-06-06
1. D.G.M. (GRID MANAGEMENT), WRLDC. FAX - 02228202630
2. DY. DIRECTOR, CEA. FAX - 01126170385 / 26107416
3. WREB, MUMBAI FAX NO 022-28370193
STN/UNIT NO. | GEN IN MU | SENT OUT | TIME IN HRS | DEMAND MW | SCH. RELIEF | UNSCH RELIEF | SOLAR TOTAL GEN | TOTAL SOLAR GEN IN MU
THERMAL
KEB-II # 1 | 0 | 0.62963 | 1 | 3524 | 0 | 0 | 0 | 0.2864
KEB-II # 2 | 0 |  | 2 | 3508 | 0 | 0 | 0
KEB-II # 3 | 0.79358 |  | 3 | 3467 | 0 | 0 | 0
KEB-II # 4 | 0 |  | 4 | 3439 | 0 | 0 | 0
KEB - PH II | 0.79358 |  | 5 | 3431 | 0 | 0 | 0
KEB-III # 5 | 1.9702 | 3.0835 | 6 | 3256 | 0 | 0 | 14.54
KEB-III # 6 | 1.5719 |  | 7 | 3089 | 0 | 0 | 35.88
KEB - PH III | 3.5421 |  | 8 | 3026 | 0 | 0 | 64.14
KEB COMPLEX | 4.3357 | 3.7131 | 9 | 3042 | 0 | 0 | 98.65
DSPMTPS # 1 | 4.884 | 9.5069 | 10 | 3141 | 0 | 0 | 117.14
DSPMTPS # 2 | 5.464 |  | 11 | 3217 | 0 | 0 | 132.12
DSPMTPS TOTAL | 10.348 |  | 12 | 3225 | 0 | 0 | 134.17
KWB-I # 1 | 4.1582 | 3.741 | 13 | 3274 | 0 | 0 | 109.29
KWB-I # 2 | 0 |  | 14 | 3283 | 0 | 0 | 94.22
KWB - PH I | 4.1582 |  | 15 | 3357 | 0 | 0 | 85.81
KWB-II # 3 | 4.0615 | 7.2751 | 16 | 3282 | 0 | 0 | 52.26
KWB-II # 4 | 4.0224 |  | 17 | 3117 | 0 | 0 | 3.15
KWB - PH II | 8.0839 |  | 18 | 3045 | 0 | 0 | 0
KWB # 5 | 11.348 | 10.829 | 19 | 2801 | 0 | 0 | 0
KWB COMPLEX | 23.5901 | 21.8451 | 20 | 3019 | 0 | 0 | 0
MARWA # 1 | 10.526 | 19.128 | 21 | 3163 | 0 | 0 | 0
MARWA # 2 | 9.698 |  | 22 | 3251 | 0 | 0 | 0
MARWA TOTAL | 20.224 |  | 23 | 3307 | 0 | 0 | 0
TOTAL THERMAL | 58.4977 | 54.1931 | 24 | 3336 | 0 | 0 | 0
HYDEL |  |  |  |  | MAX | MIN
BANGO GEN | 0.12 | 0.11797 | THERMAL GEN |  | 2386 | 2201
GANGREL GEN | 0 | 0 | HYDEL GEN |  | 38 | 0
SIKASAR GEN | 0 | 0
MINIMICRO KWB | 0 | 0
TOTAL HYDEL | 0.12 | 0.11797
TOTAL STATE GEN | 58.6177 | 54.3111
CENTRAL SEC KSTPS |  | UNIT OUTAGE / SYNCH. STATUS -
KSTPS # 1 | 4.362 | UNIT NO |  | DATE | TIME | REASON |  | EXP. TIME &DATE
KSTPS # 2 | 4.44 | KEB # 1 |  | 2017-07-05 | 21:46 | W/W TUBE LEAKAGE |  | -
KSTPS # 3 | 4.178 | KEB # 2 |  | 2017-10-23 | 20:53 | MILL FAN 2B OUT |  | -
KSTPS # 4 | 10.529 | KEB # 4 |  | 2018-06-05 | 16:44 | BTL |  | -
KSTPS # 5 | 10.58 | KWB # 2 |  | 2018-05-30 | 00:54 | ESP RENOVATION WORK |  | APPROX. 10 DAYS
KSTPS # 6 | 10.486
KSTPS # 7 | 10.317
TOTAL | 54.892
|  |  | IMPORT | EXPORT
MPSEB IMP/EXP |  |  | 0.11368 | 1.4601 | U / F OPERATION :
APSEB IMP/EXP |  |  | 0 | 0 | TOTAL No. OF TIME OPTD |  |  | MAX LOAD RELIEF (MW)
KSTPS-KORBA (W) AT KWB IMP/EXP |  |  | 0 | 0 | NIL
BUDHIPADAR IMP/EXP |  |  | 0.004216 | 2.9031
STATE DRAWL FROM GRID |  |  | 18.7645
CENTRAL SECTOR SCH |  |  | 25.5042
STATE CONSUM EXC AUX |  |  | 76.9671
AUX. CONSUMPTION |  |  | 4.3067
PEAK TIME DATA |  |  | MORN. | EVEN.
|  | HRS | 6:00 | 22:45
DEMAND MET |  | MW | 3256 | 3284
FREQUENCY |  | Hz | 50.05 | 49.89
UNSCH LOAD SH. |  | MW | 0 | 0
BANGO DAM LEVEL | 350.78
FEEDER |  |  | IMPORT |  |  |  | EXPORT
|  |  | MAX LOAD (MW) |  | MIN LOAD (MW) |  | MAX LOAD (MW) |  | MIN LOAD (MW)
220 KV RAIGARH - B'PADAR CKT. NO. I | [6 empty] | 48 |  | 18
220 KV KEB - B'PADAR CKT. NO. II
220 KV KEB - B'PADAR CKT. NO. III | [6 empty] | 105 |  | 75
FEEDER |  |  | IMPORT (in MU) |  | EXPORT (in MU)
220 KV RAIGARH - B'PADAR CKT. NO. I |  |  | 0.004216 |  | 0.60313
220 KV KEB - B'PADAR CKT. NO. II |  |  | 0 |  | 0
220 KV KEB - B'PADAR CKT. NO. III |  |  | 0 |  | 2.3
MAX. VOLTAGE AT 400 KV S/S BHILAI |  |  | 420V/'07:00HRS
MIN. VOLTAGE AT 400 KV S/S BHILAI |  |  | 415V/14:00HRS
Shift Incharge: SLDC:CSPTCL : RAIPUR
R10
R10
Note on F6: SLDC: CHECK IF LOAD SHEEDING ETC. DATA ARE ENTERED
Note on B41: rcs: Please enter this data manually
Note on B42: rcs: Please enter this data manually
Note on B43: rcs: Please enter this data manually
Note on B44: rcs: Please enter this data manually
Note on B45: rcs: Please enter this data manually
Note on B46: rcs: Please enter this data manually