## CSEB DATA SHEET DT. 08.04.2018.
| C.S.P. T. C. L PERFORMANCE REPORT FOR THE DATE | [5 empty] | 2018-04-08
1. D.G.M. (GRID MANAGEMENT), WRLDC. FAX - 02228202630
2. DY. DIRECTOR, CEA. FAX - 01126170385 / 26107416
3. WREB, MUMBAI FAX NO 022-28370193
STN/UNIT NO. | GEN IN MU | SENT OUT | TIME IN HRS | DEMAND MW | SCH. RELIEF | UNSCH RELIEF | SOLAR TOTAL GEN | TOTAL SOLAR GEN IN MU
THERMAL
KEB-II # 1 | 0 | 1.465 | 1 | 3268 | 0 | 0 | 0 | 0.2922
KEB-II # 2 | 0 |  | 2 | 3254 | 0 | 0 | 0
KEB-II # 3 | 0.905 |  | 3 | 3235 | 0 | 0 | 0
KEB-II # 4 | 0.816 |  | 4 | 3223 | 0 | 0 | 0
KEB - PH II | 1.72 |  | 5 | 3256 | 0 | 0 | 0
KEB-III # 5 | 2.178 | 3.65 | 6 | 3222 | 0 | 0 | 2
KEB-III # 6 | 1.938 |  | 7 | 3209 | 0 | 0 | 15
KEB - PH III | 4.116 |  | 8 | 3134 | 0 | 0 | 43
KEB COMPLEX | 5.837 | 5.115 | 9 | 3185 | 0 | 0 | 96
DSPMTPS # 1 | 5.958 | 11.017 | 10 | 3129 | 0 | 0 | 120
DSPMTPS # 2 | 5.974 |  | 11 | 3094 | 0 | 0 | 98
DSPMTPS TOTAL | 11.932 |  | 12 | 3105 | 0 | 0 | 113
KWB-I # 1 | 2.446 | 5.411 | 13 | 3081 | 0 | 0 | 136
KWB-I # 2 | 3.595 |  | 14 | 3105 | 0 | 0 | 112
KWB - PH I | 6.041 |  | 15 | 3192 | 0 | 0 | 64
KWB-II # 3 | 3.822 | 7.064 | 16 | 3231 | 0 | 0 | 42
KWB-II # 4 | 4.026 |  | 17 | 3240 | 0 | 0 | 9
KWB - PH II | 7.849 |  | 18 | 3343 | 0 | 0 | 0
KWB # 5 | 10.409 | 9.974 | 19 | 3569 | 0 | 0 | 0
KWB COMPLEX | 24.298 | 22.449 | 20 | 3573 | 0 | 0 | 0
MARWA # 1 | 11.631 | 22.542 | 21 | 3588 | 0 | 0 | 0
MARWA # 2 | 12.086 |  | 22 | 3554 | 0 | 0 | 0
MARWA TOTAL | 23.717 |  | 23 | 3560 | 0 | 0 | 0
TOTAL THERMAL | 65.784 | 61.122 | 24 | 3559 | 0 | 0 | 0
HYDEL |  |  |  |  | MAX | MIN
BANGO GEN | 0.081 | 0.079 | THERMAL GEN |  | 2664 | 2482
GANGREL GEN | 0 | 0 | HYDEL GEN |  | 78 | 1
SIKASAR GEN | 0 | 0
MINIMICRO KWB | 0.02 | 0.02
TOTAL HYDEL | 0.101 | 0.099
TOTAL STATE GEN | 65.885 | 61.221
CENTRAL SEC KSTPS |  | UNIT OUTAGE / SYNCH. STATUS -
KSTPS # 1 | 4.56 | UNIT NO |  | DATE | TIME | REASON |  | EXP. TIME &DATE
KSTPS # 2 | 4.824 | KEB # 1 |  | 2017-07-05 | 21:46 | W/W TUBE LEAKAGE |  | -
KSTPS # 3 | 4.882 | KEB # 2 |  | 2017-10-23 | 20:53 | MILL FAN 2B OUT |  | -
KSTPS # 4 | 11.797 | KWB # 1 |  | 2018-04-08 | 16:16 | BTL |  | 2018-04-09
KSTPS # 5 | 11.854
KSTPS # 6 | 11.793
KSTPS # 7 | 11.758
TOTAL | 61.468
|  |  | IMPORT | EXPORT
MPSEB IMP/EXP |  |  | 0.58085 | 1.2262 | U / F OPERATION :
APSEB IMP/EXP |  |  | 0 | 0 | TOTAL No. OF TIME OPTD |  |  | MAX LOAD RELIEF (MW)
KSTPS-KORBA (W) AT KWB IMP/EXP |  |  | 0 | 0 | NIL
BUDHIPADAR IMP/EXP |  |  | 2.6803 | 3.808
STATE DRAWL FROM GRID |  |  | 13.7
CENTRAL SECTOR SCH |  |  | 19.02
STATE CONSUM EXC AUX |  |  | 77.76
AUX. CONSUMPTION |  |  | 4.664
PEAK TIME DATA |  |  | MORN. | EVEN.
|  | HRS | 6:00 | 19:30
DEMAND MET |  | MW | 3222 | 3609
FREQUENCY |  | Hz | 0 | 0
UNSCH LOAD SH. |  | MW | 0 | 0
BANGO DAM LEVEL | 352.4
FEEDER |  |  | IMPORT |  |  |  | EXPORT
|  |  | MAX LOAD (MW) |  | MIN LOAD (MW) |  | MAX LOAD (MW) |  | MIN LOAD (MW)
220 KV RAIGARH - B'PADAR CKT. NO. I |  |  | 153 |  | 86 |  | - |  | -
220 KV KEB - B'PADAR CKT. NO. II |  |  | - |  | - |  | 100 |  | 65
220 KV KEB - B'PADAR CKT. NO. III |  |  | - |  | - |  | 90 |  | 60
FEEDER |  |  | IMPORT (in MU) |  | EXPORT (in MU)
220 KV RAIGARH - B'PADAR CKT. NO. I |  |  | 2.6803 |  | 0
220 KV KEB - B'PADAR CKT. NO. II |  |  | 0 |  | 2.048
220 KV KEB - B'PADAR CKT. NO. III |  |  | 0 |  | 1.76
MAX. VOLTAGE AT 400 KV S/S BHILAI |  |  | 416/06:00
MIN. VOLTAGE AT 400 KV S/S BHILAI |  |  | 411/22:00
Shift Incharge: SLDC:CSPTCL : RAIPUR