## Sheet1
INTER REGIONAL EXCHANGE OF WRTS
Comment:
Date: | 2018-03-23 | Data Not Available fill that block with red
INTER REGIONAL EXCHANGE | [6 empty] | VOLTAGES
NAME OF THE HVDC/HVAC STATION |  | PREVIOUS DAY
|  | MW (MAX) |  | MU |  |  | S/S | SEONI 765 kV | GWL 765 kV | BINA 765 kV
|  | IMP | EXP | IMP | EXP |  | MAX | 788 | 785 | 788
VHVDC | BLOCK NO-1&2 |  | -250 |  | -2.959 |  | TIME | 4:00 | 4:00 | 13:00
| Time : |  | 06:11-06:22 hrs |  |  |  | MIN | 772 | 765 | 768
B'WATI HVDC | BLOCK NO-1&2 |  | -1000 |  | -23.691 |  | TIME | 19:00 | 19:00 | 8:00
| Time : |  | 00:00-24:00 hrs
SR | 765kV Solapur-Raichur# I |  | -549 |  | -5.9855
| Time : |  | 1900
| 765kV Solapur-Raichur# II |  | -554 |  | -6.117
| Time : |  | 1900
| 400kV Narender-Kolhapur(GIS)-1 | 273 |  | 3.266 |  |  | Yellow coloured entries are to be updated from SCHUPD sheet1
| Time : | 1200
| 400kV Narender-Kolhapur(GIS)-2 | 275 |  | 3.289
| Time : | 1200
ER | R'kela # 1(Raigarh-Sundargarh#1 | 76 | -83 | 0.0523 |  |  | VOLTAGES(400kV)
| Time : | 700 | 1900
| R'kela # 3(Raigarh-Sundargarh#2 | [5 empty] | S/S | GWL 400 kV | BINA 400 kV
| Time : | [5 empty] | MAX | 406 | 411
| Rourkela # 2 (Raigarh-Sundargarh#3) | 60 | -64 | 0.0559 |  |  | TIME | 4:00 | 13:00
| Time : | 700 | 1900 |  |  |  | min | 395 | 401
| R'kela # 4 (Raigarh-Sundargarh#4) | [5 empty] | TIME | 19:00 | 0:00
Time :
B'padar # 1,2&3
Time :
| Ranchi-Sipat #I&II |  |  |  | -2.741
Time :
| 765kv Ranchi-Dharamjaygarh#1 | 159 | -112 | 0.167
| Time : | 700 | 1900
| 765kv Ranchi-Dharamjaygarh#2 | 133 | -100 | 0.117 |  |  |  | SI/RTAMC
| Time : | 700 | 1900 |  |  |  |  | WRTS - II/Vadodara
| 765kv Dharamjaygarh- Jharsuguda#1 |  | -331 |  | -4.345
| Time : |  | 1800
| 765kv Dharamjaygarh- Jharsuguda # 2 |  | -325 |  | -4.239
| Time : |  | 1800
NR | 765kV Agra- Gwalior #1&2 |  | -2446 |  | -35.6727
| Time : |  | 1:00
| 400kV Zerda - Kankroli | 415 |  | 7.7614
| Time : | 23:00
| 400kV Zerda - Bhinmal | 382 |  | 5.5761
| Time : | 22:44
| Vindhyachal - Rihand-1 | 479 |  | 10.404
| Time : | 20:00
| Vindhyachal - Rihand-2 | 479 |  | 10.3248
| Time : | 23:00
| 765kV Gwalior-Jaipur #1&2 |  | -1268 |  | -22.076
| Time : |  | 1:00
WR | 400kV RAPP - Shujalpur # 1 |  | -152 |  | -1.26
| Time : |  | 1:00
| 400kV RAPP - Shujalpur # 2 |  | -152 |  | -1.26
| Time : |  | 1:00
WR TO NR | 800 kV HVDC CHAMPA-KURUKSHETRA POLE-1 |  | -1250 |  | -28.588
| Time : |  | 06:04-24:00 hrs
| 800 kV HVDC CHAMPA-KURUKSHETRA POLE-2 |  | -1250 |  | -28.51
| Time : |  | 06:04-24:00 hrs
WR-SR | 765KV Wardha - Nizamabad # 1 |  | -936 |  | -12.99
| Time: |  | 1900
| 765KV Wardha - Nizamabad # 2 |  | -938 |  | -13.37
| Time: |  | 1900
WR-NR | 765KV Jabalpur - Orai # 1 |  | -254 |  | -1.5415
| Time: |  | 1:00
| 765KV Jabalpur - Orai # 2 |  | -280 |  | -2.26
| Time: |  | 1:00
WR-NR | 765kV Satna-Orai |  | -783 |  | -12.8435
| Time: |  | 0.041667
| 765kV Orai-Gwalior |  | -1753 |  | -35.41
| Time: |  | 12:00